## Slide 1: SUSTAINABLE, HIGH-PERFORMANCE BUILDING SOLUTIONS IN WOOD 2020-1-LV01-KA203-077513
ERASMUS+ Strategic Partnerships For Higher Education
FAÇ ADE FINISHING TYPES construction/materials Prof. Waclaw Celadyn, PhD.,D.Sc
12 May 2022

## Slide 2
11.09.2023 Sources: 2
FACADE FINISHING TYPES construction/materials
Prof. Waclaw Celadyn, PhD.,D.Sc
THEORETICAL ASPECTS

## Slide 3: Criteria for selection of materials and finishing technologies
11.09.2023 3
1/ local zoning codes 2/ local tradition
3/ function of the building (semantics) 4/ fire resistance of materials
5/ owner`s and building`s prestige
6/ design concept (esthetics)
7/ cost of this building component 8/ wall structure
9/ resistance to vandalism

## Slide 4: Technical requirements for the systems of faç ade finishing
1/ water tightness
2/ possibility of thermal extension
3/ durability (slow aging) 4/ adequate fixing method
5/ thermo – insulating properties

## Slide 5
11.09.2023 Sources: 5
FACADE FINISHING TYPES construction/materials
Prof. Waclaw Celadyn, PhD.,D.Sc
Average durability of buildings depends on the following factors:
function of the building
applied technology
environmental conditions
local culture
political and economic situation

## Slide 6: FACADE FINISHING TYPES construction/materials Prof. Waclaw Celadyn, PhD.,D.Sc
11.09.2023
Theory of building`s laSyoeurrcses:by Stewart Brand
6

## Slide 7: FACADE FINISHING TYPES construction/materials Prof. Waclaw Celadyn, PhD.,D.Sc
11.09.2023
Sources:
7

## Slide 8: FACADE FINISHING TYPES construction/materials Prof. Waclaw Celadyn, PhD.,D.Sc
11.09.2023
Sources:
8

## Slide 9
11.09.2023
Sources:
9
FACADE FINISHING TYPES construction/materials
Prof. Waclaw Celadyn, PhD.,D.Sc
FEATURES OF BUILDING SUSTAINABLE
functional effectiveness (low cost and simple technologies)
adaptability ( potential for relocation in the future)
easiness of demountability
separation of combined materials
selection of materials susceptible to recycling
aptitude for maintenance
transparency (clarity of applied technical solutions and easy inspection)
evolutive capacity (possibility of future improvements)
dynamism of systems allowing for ecological risks instead of their stability

## Slide 11
11.09.2023 Sources: 11
FACADE FINISHING TYPES construction/materials
Prof. Waclaw Celadyn, PhD.,D.Sc
FACADE FINISHING APPLICATIONS

## Slide 12
Manufacturing plant Ricola.
Laufen (CH)

## Slide 15
Log construction

## Slide 16
Residential building IBA. Hamburg

## Slide 17
Residential building IBA. Hamburg

## Slide 18
Residential building.
Berlin

## Slide 19
Residential building. Berlin (arch.Klingbeil)

## Slide 20
Home for Children
and Young People.
Ingolstadt

## Slide 21
Home for Children and Young People.
Ingolstadt

## Slide 22
Charring wood facade

## Slide 23
11.09.2023
23

## Slide 25
Wickerwork facade

## Slide 27
Wickerwork facade

## Slide 36
Residential building. Zurich

## Slide 37
Residential building. Zurich
Residential building. Zurich

## Slide 41
Photo-concrete

## Slide 44
Photo-concrete.
A technology based on the use of hardening retarder and flushing of concrete mass

## Slide 45
Fiber cement facade. Residential building. Murray Grove. London

## Slide 46
Residential building. Murray Grove.

## Slide 49: FACADE FINISHING TYPES construction/materials Prof. Waclaw Celadyn, PhD.,D.Sc
11.09.2023
Sources:
49

## Slide 50
Light concrete facade. Residential building.
Chur

## Slide 51
Light insulation concrete: cement, light aggregate, expanded glass (instead of sand)
Exterior walls - 45 cm U=0,58 W/m2K
Roof – 60 cm U=0,4 W/m2K
Residential building.
Chur

## Slide 54
System ETICS

## Slide 64
Culture Center.
To1r1u.0n9.2023
Picado system
64

## Slide 68
Light wet technology

## Slide 75
Observation and research Centre on Furnas Lake. Sao Miguel

## Slide 76
Observation and research Centre on Furnas Lake.
Sao Miguel

## Slide 79
Winery Dominus. Yountville, CA,USA

## Slide 81
Anti-graffiti system

## Slide 82
Facade with Corian panel cladding. Hotel Seeko`o – Bordeaux

## Slide 83
1- Corian panel – acrylic composite ( 2,2x5,5m, 13mm thick) on aluminium substructure

## Slide 84
Façade with transparent insulation strips

## Slide 85
Transparent insulation on masonry wall

## Slide 86
Bayerischer Landesbank. Munich

## Slide 89
Polycrystalline PV cells

## Slide 90
Building glazed envelope with paraffin filling (Phase Change Material) as a method of enhancement of thermal accumulation

## Slide 91
Glazed building skin with integrated phase change material (PCM)

## Slide 92
Residential building with bioreactor facades- Hamburg

## Slide 99
Corten cladding with anti-graffiti treatment.
Congress Center. Barcelona

## Slide 100
Sandwich plate

## Slide 103
Steel cassette system – regular and noise suppression profiles

## Slide 111
Center for Visual Arts. Sainsbury

## Slide 116
Culture Centre in Dhahran (arch. Snohetta)

## Slide 119
11.09.2023
119

## Slide 131
Palace. Guangzhou. China

## Slide 137
Water power plant Power Plobb. Seefeld (A)

## Slide 138
Water power plant Power Plobb.
Seefeld

## Slide 139
Water power plant Power Plobb. Seefeld

## Slide 140
Cork facade. House in Catalonia

## Slide 142
Cork facade. House in Catalonia
Cork – 5 cm glued to CLT panels with lime screed

## Slide 143
Cork – 5 cm glued to CLT panels with lime screed
Cork facade. House in Catalonia

## Slide 144
De Young Museum – San Francisco

## Slide 147
Garden pavillion. Basel.
Building paper with sand topping

## Slide 148
Garden pavillion. Basel.
Building paper with sand topping

## Slide 149
Youth Center. De hood Osdorp – Amsterdam

## Slide 150: - UV protection layer ochronna UV
hard foam PUR – 12 cm
steel structure/sandstone – 15cm
vapoufr retarder
wooden battens 2,5x5 cm
2x gypsum board – 2,5 cm
Youth Center. De hood Osdorp – Amsterdam

## Slide 151
Culture Center Joue-les-Tours. Syntethic membrane reinforced with polyester mesh

## Slide 153
PVC membrane. Supermarket „Im Viadukt”. Zurich

## Slide 154: 2 – folia EPDM
6 – folia EPDM na 30 mm
wełnie mineralnej
Supermarket „Im Viadukt” Zurich

## Slide 155
Heat exchanger building nr 8. Utrecht

## Slide 156
Vandal-proof polyurethane membrane.
Heat exchanger building nr 8. Utrecht

## Slide 160
GFRP panel cladding – 4 mm thick

## Slide 161
GFRP panel cladding – 4 mm thick

## Slide 163
Residential building „Silodam”. Amsterdam

## Slide 165
11.09.2023
Sources:
165

## Slide 166
11.09.2023
Sources:
166

## Slide 168
White acrylic glass 6,5 mm thick fixed to
aluminium substructure with silicone

## Slide 170
Printed plastic mesh. Industrial building

## Slide 171
Printed plastic mesh. Industrial building

## Slide 179
Transforming station. Augsburg - Stadtbergen

## Slide 181
„La Miroiterie” building. Lausanne

## Slide 183
Training Center. Gaissach.

## Slide 185
Nano-vent-skin

## Slide 188
Patrick Blanc`s green wall system

## Slide 191
Evolution of building envelopes from massive walls toward spatial systems